## Sheet1
1. Find the cooling, heating and gas type required
2. Highlight lines not required and use edit/delete/line to remove them
3. Edit the MARK column to reflect PTAC-1 thru ----------
4. Edit the AREA column to match your drawings or expand the schedule to show all rooms and their respective PTAC type
PACKAGED TERMINAL A/C MECHANICAL SCHEDULE
|  | COOLING | [6 empty] | HEATING |  |  | ELECTRICAL
SUBURBAN
MARK | AREA | TOTAL | NOM | EER | REF | SENS/ | RLA | LRA | GAS | BTU |  | VOLTAGE | TOTAL AMP |  | MOP | MODEL
|  | MBH | TONS |  |  | LAT % |  |  | TYPE | INPUT | OUTPUT | PHASE | HTG | COOL |  | NUMBER
PTAC-1 | 110 | 7500 | 0.63 | 10.8 | 410A | 65/35 | 2.9 | 8.6 | NAT | 12000 | 9840 | 208/230-1 | 1 | 3,8 | 15 | DL3-0712N
PTAC-2 | 120 | 7500 | 0.63 | 10.8 | 410A | 65/35 | 2.9 | 8.6 | LP | 12000 | 9840 | 208/230-1 | 1 | 3,8 | 15 | DL3-0712L
PTAC-3 | 210 | 9400 | 0.78 | 10.55 | 410A | 69/31 | 3.9 | 22 | NAT | 12000 | 9840 | 208/230-1 | 1 | 4.3 | 15 | DL3-0912N
PTAC-4 | 220 | 9400 | 0.78 | 10.55 | 410A | 69/31 | 3.9 | 22 | LP | 12000 | 9840 | 208/230-1 | 1 | 4.3 | 15 | DL3-0912L
PTAC-5 | 310 | 12300 | 1.03 | 10.25 | 410A | 65/35 | 5.4 | 25 | NAT | 18,000 | 14,580 | 208/230-1 | 1 | 6.4 | 15 | DL3-1220N
PTAC-6 | 320 | 12300 | 1.03 | 10.25 | 410A | 65/35 | 5.4 | 25 | LP | 18,000 | 14,580 | 208/230-1 | 1 | 6.4 | 15 | DL3-1220N
PTAC-8 | 410 | 15200 | 1.24 | 9.3 | 410A | 65/35 | 6.6 | 33 | NAT | 20,000 | 16,000 | 208/230-1 | 1.2 | 7.6 | 15 | DL3-1622N
PTAC-9 | 420 | 15200 | 1.24 | 9.3 | 410A | 65/35 | 6.6 | 33 | LP | 20,000 | 16,000 | 208/230-1 | 1,2 | 7.6 | 15 | DL3-1622L